## Slide 1
Agenda:
Check exam score signatures
Start Lab equipment and measurement unit notes
Bell Work
Identify each of the pieces of lab equipment and describe how they are used:
1.
2.
3.
4. & 5.
  BEAKER - Used to measure out large volumes of liquids
  For example 20mL, 40mL, 60mL, 80mL, 100mL
  GRADUATED CYLINDER - Used to measure out small, specific amounts of liquid
  For example, 11mL, 46mL, 52mL
  ERLENMEYER FLASK - Used for measuring large amounts of liquid that can be mixed by swirling without spillage
TEST TUBE - Used to hold, mix, or heat small quantities of solid or liquid chemicals
  RACK - Used to hold several test tubes in one place

## Slide 2: Unit 3: Lab Equipment and Measurement!!!

## Slide 3: Equipment identification and Use
Beaker
  Used to measure out large volumes of liquids
  For example 20mL, 40mL, 60mL, 80mL, 100mL

## Slide 4: Equipment identification and Use
Graduated Cylinder
  Used to measure out small, specific amounts of liquid
  For example, 11mL, 46mL, 52mL

## Slide 5: Equipment identification and Use
Erlenmeyer flask
  Used for measuring large amounts of liquid that can be mixed by swirling without spillage

## Slide 6: Equipment identification and Use
Test tubes
  Used to hold, mix, or heat small quantities of solid or liquid chemicals
Test tube rack
  Used to hold several test tubes in one place

## Slide 7: Equipment identification and Use
Hot plate
  Used to heat substances without using an open flame

## Slide 8: Equipment identification and Use
Safety goggles
  Protects scientists eyes from chemicals and flying objects

## Slide 9: Equipment identification and Use
Lab tongs
  Used for grasping or lifting lab materials
  Specifically used for lifting beakers containing corrosive or hot materials

## Slide 10: Equipment identification and Use
Electronic balance
  Used to weigh out very specific amounts of a substance in grams

## Slide 11: Equipment identification and Use
Ring stand
  Used to suspend beakers, flasks, or test tubes

## Slide 12: Equipment identification and Use
Test tube tongs
  Used to hold test tubes containing corrosive or hot chemicals

## Slide 13: Equipment identification and Use
Pipettes
  Used for measuring out VERY small amounts of liquids
  For example, 0.5mL, 1mL, 3.5mL

## Slide 14: Equipment identification and Use
Funnel
  Pouring liquids into containers with small openings without spilling

## Slide 15: Equipment identification and Use
Thermometer
  Used to measure the temperature of a substance

## Slide 16: Use the next 5 minutes to answer the following questions on page 3 in your note packet with your shoulder buddy!

## Slide 17: Equipment Questions
What does a balance measure?
List 3 pieces of lab equipment designed to measure volume.
What does a thermometer measure?
MASS!!!
TEMPERATURE!!!
ERLENMEYER FLASK!!!
GRADUATED CYLINDER!!!
BEAKER!!!
PIPETT!!!

## Slide 18: Equipment Questions
Heating water without using an open flame.
Measuring out exactly 43 mL of water.
Weighing out 120 grams of sodium chloride.
Protecting your eyes from chemicals, flying objects, etc.
Holding a beaker full of hot liquid.
4. Which piece of laboratory equipment should you use for the following tasks:
Hot plate!!!
Graduated cylinder!!!
Electronic balance!!!
Safety goggles!!!
Lab tongs!!!

## Slide 19: Equipment Questions
Pouring liquids into containers with small openings.
Measuring very small amounts of liquid.
Holding test tubes.
Hold several test tubes in one place.
Which piece of laboratory equipment should you use for the following tasks:
Test tube rack!!!
Test tube tongs!!!
Pipette!!!
Funnel!!!

## Slide 20: Lab Safety
Rule #1: Never touch anything unless instructed to do so by the teacher!!!
Rule #2: Horseplay in the lab will get you kicked out of the lab.
Rule #3: Using equipment other than its intended purpose will get you kicked out of the lab.

## Slide 21: Class time left???
White board review
Word games from the back table